Voltcraft_Frequenzgang.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_Frequenzgangberechnung.vi

Anschlussfeld

Frontpanel

Blockdiagramm

hp 33120a - Initialize.vi
This VI loads the addressing information about the instrument into the Open VXI Instrument VI and returns the instrument ID. You can reset the instrument by setting the front panel reset control. You must run this VI before using any of the instrument driver VIs for this instrument.

Anschlussfeld

Frontpanel

Blockdiagramm

hp 33120a - Reset.vi
This VI causes the instrument to reset. Consult the user's manual for the default parameter settings to which this command resets the instrument.

Anschlussfeld

Frontpanel

Blockdiagramm

hp 33120a - Wfm Config Ex.vi
Performs the basic waveform configuration.

The instrument must be initialized for this example to function properly.

Anschlussfeld

Frontpanel

Blockdiagramm

hp 33120a - Config Waveform.vi
sets the parameters of the basic waveform.

Anschlussfeld

Frontpanel

Blockdiagramm

hp 33120a - Error Query.vi
This VI reads the status message from the power meter and determines whether an error has occurred during the previous operations. If an error is detected, the front panel LED (error) will be turned on, and the messages will be displayed.

Anschlussfeld

Frontpanel

Blockdiagramm

hp 33120a - Select Arbitrary Waveform.vi
Selects one of the five built-in arbitrary waveforms, one of four user-defined waveforms, or the waveform currently downloaded to volatile memory, and provides the option of outputting the selected waveform.

Anschlussfeld

Frontpanel

Blockdiagramm

hp 33120a - Output Arbitrary Waveform.vi
This VI outputs the currently selected user waveform. The selected waveform is output using the previously selected frequency, amplitude, and offset settings.

Anschlussfeld

Frontpanel

Blockdiagramm

hp 33120a - Close.vi
This VI closes the I/O interface with the instrument.

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_GetData.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_Strlencheck.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_OverflowCheck.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_CheckACMode.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_Skalierungsfaktor.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_ReadData.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_ReadString.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_Init.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft VISA Configure Serial Port.vi
Initialisiert den über den VISA: Ressourcennamen ausgewählten seriellen Port mit den angegebenen Einstellungen.

Anschlussfeld

Voltcraft VISA Configure Serial Port (Instr).vi
Initialisiert den über den VISA: Ressourcennamen ausgewählten seriellen Port mit den angegebenen Einstellungen.

Anschlussfeld

Frontpanel

Blockdiagramm

PortNummer2VISARessourcenName.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_Write.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_Close.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_Read.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft Serial Read with Timeout.vi
The Serial Read with Timeout VI will read bytes until either the requested number of bytes is received, or until a timeout occurs.

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_String2Float.vi

Anschlussfeld

Frontpanel

Blockdiagramm

Voltcraft_Diagramm.vi

Anschlussfeld

Frontpanel

Blockdiagramm